Name:

Date:

Class:

# Lesson 7.8: Introduction to Plumbing

## Know and Understand

Answer the following questions using the information provided in this lesson.

- True or False? Proper safety equipment used in plumbing includes safety glasses, hearing protection, gloves, hardhats, fluorescent vests, and heavy-duty work boots, (7.8.1)

Answer:

- True or False? Safety glasses should be worn at all times during plumbing tasks. (7.8.2)

Answer:

- True or False? Improper tool use can lead to personal injury and damage to the plumbing system. (7.8.3)

Answer:

- Solder and flux are used when attaching fittings to _____ pipe. (7.8.4)

- PEX

- PVC

- CPVC

- copper

Answer:

- True or False? Copper piping is only sold in rigid sections. (7.8.4)

Answer:

- True or False? PEX pipe is more flexible than PVC pipe. (7.8.4)

Answer:

- To change the direction of water flow in a pipe, a plumber will need to use a(n) _____. (7.8.5)

- pipe bender

- water pump

- backflow preventer

- elbow fitting

Answer:

- To join two sections of PVC pipe of equal diameters, a plumber will use a(n) _____. (7.8.5)

- adapter

- bushing

- coupling

- clamp

Answer:

- A(n) _____ fitting allows water to flow freely while preventing sewer gases from entering the home through the pipe. (7.8.5)

- special

- tee

- cross

- elbow

Answer:

- Before applying cement to a PVC fitting, you should apply a _____ to the pipe and fitting. (7.8.6)

- rag

- sleeve

- primer

- glue

Answer:

- True or False? In agricultural applications, fixtures may be for bathtubs, showers, toilets, water heaters, and bathroom and kitchen sinks. (7.8.7)

Answer:

- True or False? Septic systems should be pumped every two to five years, depending on the amount of use it receives. (7.8.8)

Answer:

- Aerobic bacteria need _____ to grow and thrive. (7.8.9)

- water

- oxygen

- other bacteria

- soil

Answer: